## Standard Gas Exposures
Calibration Room Air | Calibration 5% CO2 | Calibration 7% CO2 | Calibration 10% CO2 | Calibration 10% O2 | Room Air | 5% CO2 | 7% CO2 | 10% CO2 | 10% O2 | Room Air 2 (recovery after gas exposure)
Alias: Cal 20 Room Air | Alias: Cal 20 5% CO2 | Alias: Cal 20 7% CO2 | Alias: Cal 20 10% CO2 | Alias: Cal 20 10% O2 | Alias: Room Air | Alias: 5% CO2 | Alias: 7% CO2 | Alias: 10% CO2 | Alias: 10% O2 | Alias: Room Air 2
Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 5% CO2 | Cal Seg: Cal 20 7% CO2 | Cal Seg: Cal 20 10% CO2 | Cal Seg: Cal 20 10% O2 | Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 5% CO2 | Cal Seg: Cal 20 7% CO2 | Cal Seg: Cal 20 10% CO2 | Cal Seg: Cal 20 10% O2 | Cal Seg: Cal 20 Room Air
AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 0
AUTO_IND_CAL: 1 | AUTO_IND_CAL: 1 | AUTO_IND_CAL: 1 | AUTO_IND_CAL: 1 | AUTO_IND_CAL: 1 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0
AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0
AUTO_IND_GAS: RA | AUTO_IND_GAS: 5%CO2 | AUTO_IND_GAS: 7%CO2 | AUTO_IND_GAS: 10%CO2 | AUTO_IND_GAS: 10%O2 | AUTO_IND_GAS: RA | AUTO_IND_GAS: 5%CO2 | AUTO_IND_GAS: 7%CO2 | AUTO_IND_GAS: 10%CO2 | AUTO_IND_GAS: 10%O2 | AUTO_IND_GAS: RA
AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA
CAL_O2: 21,1.5,2.5 | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: 10,0.5,1.5 | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA
CAL_CO2: 0,-.1,.1 | CAL_CO2: 5,2,3 | CAL_CO2: 7,3,4 | CAL_CO2: 10,4.5,5.5 | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA
Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0
min_TT: 0.2 | min_TT: 0.2 | min_TT: 0.2 | min_TT: 0.2 | min_TT: 0.2 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1
max_TT: 1 | max_TT: 1 | max_TT: 1 | max_TT: 1 | max_TT: 1 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5
max_DVTV: 0.2 | max_DVTV: 0.2 | max_DVTV: 0.2 | max_DVTV: 0.2 | max_DVTV: 0.2 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25
Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 1 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0
Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 1
max_pX: 1 | max_pX: 1 | max_pX: 1 | max_pX: 1 | max_pX: 1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1
X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500
max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off
max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off
include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0
include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0
include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0
vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1
min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0
min_CO2: -1 | min_CO2: 4 | min_CO2: 6 | min_CO2: 9 | min_CO2: -1 | min_CO2: 0 | min_CO2: 5 | min_CO2: 7 | min_CO2: 10 | min_CO2: 0 | min_CO2: 0
max_CO2: 3 | max_CO2: 6 | max_CO2: 8 | max_CO2: 11 | max_CO2: 3 | max_CO2: 5 | max_CO2: 10 | max_CO2: 12 | max_CO2: 15 | max_CO2: 5 | max_CO2: 5
min_O2: 19 | min_O2: 19 | min_O2: 19 | min_O2: 19 | min_O2: 9 | min_O2: 10 | min_O2: 10 | min_O2: 10 | min_O2: 10 | min_O2: 5 | min_O2: 10
max_O2: 22 | max_O2: 22 | max_O2: 22 | max_O2: 22 | max_O2: 11 | max_O2: 21 | max_O2: 21 | max_O2: 21 | max_O2: 21 | max_O2: 10 | max_O2: 21
min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10
within_start: 300 | within_start: 300 | within_start: 300 | within_start: 300 | within_start: 300 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200
within_end: 43200 | within_end: 43200 | within_end: 43200 | within_end: 43200 | within_end: 43200 | within_end: 43200 | within_end: 600 | within_end: 600 | within_end: 600 | within_end: 600 | within_end: 43200
after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0
before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0
min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off
min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off

## Injection 5%CO2
Calibration Room Air | Calibration 5% CO2 | Pre-CNO Room Air | Pre-CNO 5% CO2 | Pre-CNO Post-CO2 Recovery | Post-CNO Room Air | Post-CNO 5% CO2 | Post-CNO Post-CO2 Recovery
Alias: Cal 20 Room Air | Alias: Cal 20 5% CO2 | Alias: Pre-CNO Room Air | Alias: Pre-CNO 5% CO2 | Alias: Pre-CNO Post-CO2 Recovery | Alias: Post-CNO Room Air | Alias: Post-CNO 5% CO2 | Alias: Post-CNO Post-CO2 Recovery
Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 5% CO2 | Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 5% CO2 | Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 5% CO2 | Cal Seg: Cal 20 Room Air
AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 0
AUTO_IND_CAL: 1 | AUTO_IND_CAL: 1 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0
AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0
AUTO_IND_GAS: RA | AUTO_IND_GAS: 5%CO2 | AUTO_IND_GAS: RA | AUTO_IND_GAS: 5%CO2 | AUTO_IND_GAS: RA | AUTO_IND_GAS: RA | AUTO_IND_GAS: 5%CO2 | AUTO_IND_GAS: RA
AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: PRE | AUTO_IND_INJECTION: PRE | AUTO_IND_INJECTION: PRE | AUTO_IND_INJECTION: POST | AUTO_IND_INJECTION: POST | AUTO_IND_INJECTION: POST
CAL_O2: 21,1.5,2.5 | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA
CAL_CO2: 0,-.1,.1 | CAL_CO2: 5,2,3 | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA
Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 1 | Midpoint: 0 | Midpoint: 0
min_TT: 0.2 | min_TT: 0.2 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1
max_TT: 1 | max_TT: 1 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5
max_DVTV: 0.2 | max_DVTV: 0.2 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25
Startpoint: 0 | Startpoint: 0 | Startpoint: 1 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0
Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 1
max_pX: 1 | max_pX: 1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1
X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500
max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off
max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off
include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0
include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0
include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0
vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1
min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0
min_CO2: -1 | min_CO2: 4 | min_CO2: 0 | min_CO2: 5 | min_CO2: 0 | min_CO2: 0 | min_CO2: 5 | min_CO2: 0
max_CO2: 3 | max_CO2: 6 | max_CO2: 5 | max_CO2: 10 | max_CO2: 5 | max_CO2: 5 | max_CO2: 10 | max_CO2: 5
min_O2: 19 | min_O2: 19 | min_O2: 10 | min_O2: 10 | min_O2: 10 | min_O2: 10 | min_O2: 10 | min_O2: 10
max_O2: 22 | max_O2: 22 | max_O2: 21 | max_O2: 21 | max_O2: 21 | max_O2: 21 | max_O2: 21 | max_O2: 21
min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10
within_start: 300 | within_start: 300 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200
within_end: 43200 | within_end: 43200 | within_end: 43200 | within_end: 600 | within_end: 43200 | within_end: 43200 | within_end: 600 | within_end: 43200
after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0
before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0
min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off
min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off

## Injection 10%O2
Calibration Room Air | Calibration 10% O2 | Pre-CNO Room Air | Pre-CNO 10% O2 | Pre-CNO Post-O2 Recovery | Post-CNO Room Air | Post-CNO 10% O2 | Post-CNO Post-O2 Recovery
Alias: Cal 20 Room Air | Alias: Cal 20 10% O2 | Alias: Pre-CNO Room Air | Alias: Pre-CNO 10% O2 | Alias: Pre-CNO Post-O2 Recovery | Alias: Post-CNO Room Air | Alias: Post-CNO 10% O2 | Alias: Post-CNO Post-O2 Recovery
Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 10% O2 | Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 10% O2 | Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 Room Air | Cal Seg: Cal 20 10% O2 | Cal Seg: Cal 20 Room Air
AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 0 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 1 | AUTO_IND_INCLUDE: 0
AUTO_IND_CAL: 1 | AUTO_IND_CAL: 1 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0 | AUTO_IND_CAL: 0
AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 1 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0 | AUTO_IND_GAS_CAL: 0
AUTO_IND_GAS: RA | AUTO_IND_GAS: 10%O2 | AUTO_IND_GAS: RA | AUTO_IND_GAS: 10%O2 | AUTO_IND_GAS: RA | AUTO_IND_GAS: RA | AUTO_IND_GAS: 10%O2 | AUTO_IND_GAS: RA
AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: NA | AUTO_IND_INJECTION: PRE | AUTO_IND_INJECTION: PRE | AUTO_IND_INJECTION: PRE | AUTO_IND_INJECTION: POST | AUTO_IND_INJECTION: POST | AUTO_IND_INJECTION: POST
CAL_O2: 21,1.5,2.5 | CAL_O2: 10,0.5,1.5 | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA | CAL_O2: NA
CAL_CO2: 0,-.1,.1 | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA | CAL_CO2: NA
Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 0 | Midpoint: 1 | Midpoint: 0 | Midpoint: 0
min_TT: 0.2 | min_TT: 0.2 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1 | min_TT: 0.1
max_TT: 1 | max_TT: 1 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5 | max_TT: 5
max_DVTV: 0.2 | max_DVTV: 0.2 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25 | max_DVTV: 0.25
Startpoint: 0 | Startpoint: 0 | Startpoint: 1 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0 | Startpoint: 0
Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 0 | Endpoint: 1
max_pX: 1 | max_pX: 1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1 | max_pX: 0.1
X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500 | X: 500
max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off | max_calibrated_TV: off
max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off | max_VEVO2: off
include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0 | include_apnea: 0
include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0 | include_sigh: 0
include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0 | include_high_chamber_temp: 0
vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 0.5 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1 | vol_mov_avg_drift: 1
min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0 | min_TV: 0
min_CO2: -1 | min_CO2: -1 | min_CO2: 0 | min_CO2: 0 | min_CO2: 0 | min_CO2: 0 | min_CO2: 0 | min_CO2: 0
max_CO2: 3 | max_CO2: 3 | max_CO2: 5 | max_CO2: 5 | max_CO2: 5 | max_CO2: 5 | max_CO2: 5 | max_CO2: 5
min_O2: 19 | min_O2: 9 | min_O2: 10 | min_O2: 5 | min_O2: 10 | min_O2: 10 | min_O2: 5 | min_O2: 10
max_O2: 22 | max_O2: 11 | max_O2: 21 | max_O2: 10 | max_O2: 21 | max_O2: 21 | max_O2: 10 | max_O2: 21
min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10 | min_bout: 10
within_start: 300 | within_start: 300 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200 | within_start: 43200
within_end: 43200 | within_end: 43200 | within_end: 43200 | within_end: 600 | within_end: 43200 | within_end: 43200 | within_end: 600 | within_end: 43200
after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0 | after_start: 0
before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0 | before_end: 0
min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off | min_VO2: off
min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off | min_VCO2: off